[image: image1.jpg]


SELF CLOSING TAP
Basin-mounted push-button tap with automatic time delayed shut-off,

Inlet 1/2 ''

Flow rate 4L/mn at 417 kPa

Flow duration from 7 to 20 sec

self cleaning mechanism, 

internal components in anti-corrosion and anti-liming materials, 

easy adjustment of the flow time,

 anti-rotating push-button. 

“S” security system to prevent continuous flow.

 Hot or premixed water inlet                          
