THERMOSTATIC MIXING VALVE

Thermostatic mixing valve for washbasin, bidet or shower.

Parallele inlet 1/2 ‘’ (15 x 21)

Internal temperature limiting system.

Flow rate 50 l/mn à 400 kPa

Equipped with check valves

Anti scalding : hot water is instantly closed if cold water supply is cut off.

.