SELF CLOSING MIXER TAP FOR SHOWER

single control mixer tap with automatic time delayed shut-off

Inlet 1/2 ''

Flow rate 8L/mn at 417 kPa

Flow duration from 20 to 35 sec

self cleaning mechanism with ruby,

anti-corrosion and anti-liming materials,

flow regulator and temperature limit.

Chrome plated brass knob

For concealed installation.