PRESTO NEO®  – 66030

Single wall-mounted self-closing tap, stainless steel body,1/2", cold water, 65mm projection. As Presto NEO® ref. 66030 or technically equivalent. Equipped against corrosion and lime scale with a self-cleaning needle and ruby mechanism, preset at 3 l/mn (inner adjustment). 7 sec timed-flow. Anti-rotation push button with laser marking.

Or

Single wall-mounted self-closing tap, stainless steel body, 1/2", cold water, 65mm projection. As Presto NEO® ref. 66030 or technically equivalent. Including:

- Self-cleaning needle and ruby mechanism

- Preset at 3 l/mn (inner adjustment)

- Anti-rotation push button with laser marking.

- 7 sec. timed-flow

.