57272 - Deck-mounted touch single tap, battery, 1.9l/min, 7 sec.
Single touch/sensitive (CE) deck-mounted tap, timed (1s to 5min), for cold or mixed water supply. PRM-compatible Presto LINEA TOUCH® type tap, ref. 57272 or technically equivalent. Features touch start/stop function and integrated flow regulator (1,9 l/min). Brass body with Chrome finish. Powered by 2 integrated 3V CR123A lithium batteries. Includes PEX flexibles. Configurable automatic purge.

57272 - Deck-mounted touch single tap, battery, 1.9l/min, 7 sec.
Single touch/sensitive (CE) timed tap (1s to 5min) on deck, for cold or mixed water supply. PRM-compatible Presto LINEA TOUCH® type tap, ref. 57272 or technically equivalent, includes:
-Touch start/stop function
-Integrated flow regulator at 1,9 l/min
-Brass body with Chrome finish
-Powered by 2 integrated 3V CR123A lithium batteries in the tap
-A PEX flexible
-Configurable automatic purge.
-Includes all supply and installation suggestions.