60329 - 90 ° angled bar diameter 32 mm, left model
Corner shower bar with vertical bar, left model. Presto type ref. 60329 or technically equivalent. In brushed 304 stainless steel. Diameter 32 mm, length 450 mm and height 750 mm

60329 - 90 ° angled bar diameter 32 mm, left model
Corner shower bar with vertical bar, left model. Presto type ref. 60329 or technically equivalent. Having for characteristics:
- a brushed 304 stainless steel material
- diameter 32 mm, length 450 mm and height 750 mm
Included all suggestions for supplies and implementation.