60330 - Angled bar 90 ° diameter 32 mm, straight model
Corner shower bar with vertical bar, straight model. Presto type ref. 60330 or technically equivalent. In brushed 304 stainless steel. Diameter 34 mm, length 450 mm and height 750 mm.

60330 - Angled bar 90 ° diameter 32 mm, straight model
Corner shower bar with vertical bar, straight model. Presto type ref. 60330 or technically equivalent. Having for characteristics:
- a brushed 304 stainless steel material
- a diameter of 32 mm, a length of 450 mm and a height of 750 mm
Included all suggestions for supplies and implementation.