60724 - Corner shower rail with vertical rail  - Diameter 34 mm 
Corner shower rail with vertical rail  - Diameter 34 mm, PRESTO type ref 60724 or technically equivalent, 660 x 560 x 1150 mm. Left/right model. Anti-bacterial ABS coated aluminium.