85753 - CEILING MOUNTED
Safety shower ref. PRESTO brand 85753, manually operated by a rigid rod with a balancing counterweight. Body in treated brass with red epoxy finish. Model with 1 fixed head, shut-off valve, ceiling supply. Complies with ANSI Z 358 1 and EN 15154.1-2 standards.