85754 - WALL-MOUNTED EMERGENCY SHOWER
Safety shower ref. PRESTO brand 85754 manually operated by rigid rod with balancing counterweight. Body in treated brass with red epoxy finish. Model with 1 fixed head, shut-off valve, wall supply. Complies with ANSI Z 358.1 and EN 15154.1-2 standards.