85763 - WALL-MOUNTED EMERGENCY EYE SHOWER
Safety eye washer ref. PRESTO brand 85763 with manual control operated by joystick. Body in treated brass with jet red Epoxy finish with flow limiter (14 L / min) and dust cap, shut-off valve. Single jet model with flush-mounted power supply. Complies with ANSI Z 358.1 and EN 15154.1-2 standards.