85765 - WALL-MOUNTED SAFETY EYE-SHOWER
Safety eye washer ref. PRESTO brand 85765 with manual control operated by joystick. Body in treated brass with jet red epoxy finish with 26L / min flow limiter and dust cap, shut-off valve. 2-jet model with wall-mounted basin. Complies with ANSI Z 358.1 and EN 15154.1-2 standards.